# COMMENT RESPONSE MATRIX

| No. | Document / Drawing Ref. | Section / Page / Detail No. | Reviewer’s Comment | Date Received | Response / Action Taken | Responsible Person | Status (Open / Closed / Pending) | Date Closed |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | DRG-001 | Sheet 2 – Detail A | Relocate drainage pipe to avoid existing cable route | 05-Aug-2025 | Pipe alignment adjusted and updated in Rev-02 drawing | Design Engineer | Closed | 07-Aug-2025 |
| 2 | REP-03 | Page 15 | Clarify material specification for retaining wall | 06-Aug-2025 | Added specification to Section 4.2 of report | Civil Engineer | Closed | 08-Aug-2025 |
| 3 | DRG-005 | Sheet 1 – Cross Section | Increase shoulder width to 2.5m | 06-Aug-2025 | Under review – will confirm in next design meeting | Highway Engineer | Pending | — |

# Purpose

A Comment Response Matrix is used to:

- Record all review comments received on project documents, drawings, or reports.

- Provide structured responses from the project team.

- Track the implementation or resolution status of each comment.

- Maintain a transparent record for approvals.

# Recommended Use

- Assign unique comment numbers for traceability.

- Keep document reference and detail number precise so the comment is easy to locate.

- Status should be regularly updated until all comments are closed.

- Maintain a master version in Excel or a database so sorting/filtering by status, responsible person, or document is easy.